{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":14,"n_cols":7,"rows_kept":14,"merged":[[0,0,0,6],[1,0,1,6]]}
["拟遴选采购产品目录"]
["以下所列项目，仅接受省采平台挂网产品报名，如两定平台没有同类挂网产品，方可接受非挂网产品报名；临床诊断治疗用耗材、试剂须有注册证或备案凭证。"]
["序号","项目名称","规格要求","配置要求","检测方法","配套检测仪器","试剂特殊要求"]
[1,"梅毒螺旋体抗体检测试剂盒","不限","配套提供阳性对照血清及微孔板","颗粒凝集法","/","可定性检测人血清和血浆中的梅毒螺旋体抗体及测定其抗体效价"]
[2,"7种微小核糖核酸（microRNA）检测试剂盒","<50人份/盒","配套阴性、阳性、空白对照","PCR荧光探针法","ABI 7500荧光定量PCR仪","拷贝数≤50/ul；结果自动判读"]
[3,"载脂蛋白E测定试剂盒","≥200T/盒","配套提供校准品、质控品","免疫比浊法","贝克曼生化分析仪AU5800","精密度：CV≤10%；正确度：偏倚≤15%"]
[4,"Ⅳ型胶原测定试剂盒","≥200T/盒","配套提供校准品、质控品","胶乳免疫比浊法","贝克曼生化分析仪AU5800","精密度：CV≤10%；正确度：偏倚≤15%"]
[5,"脂肪酶测定试剂盒","≥200T/盒","配套提供校准品、质控品","甲基试卤灵底物法","贝克曼生化分析仪AU5800","精密度：CV≤6.6%；正确度：偏倚≤10%"]
[6,"甲胎蛋白异质体比率(AFP-L3%)测定试剂盒","≥30人份/盒","配套提供校准品、质控品","化学发光免疫分析法","热景全自动化学发光免疫分析仪C2000","精密度：CV≤10%；正确度：偏倚≤15%"]
[7,"肺炎支原体IgM抗体检测试剂盒","不限","/","量子点荧光免疫层析法","诺唯赞全自动荧光免疫分析仪QD-S2000","样本检测类型：血清、血浆、全血"]
[8,"呼吸道合胞病毒抗原检测试剂盒","不限","配套样本保存液及采样拭子","量子点荧光免疫层析法","诺唯赞全自动荧光免疫分析仪QD-S2000","/"]
[9,"肺炎支原体IgG抗体检测试剂盒","不限","/","量子点荧光免疫层析法","诺唯赞全自动荧光免疫分析仪QD-S2000","样本检测类型：血清、血浆、全血"]
[10,"胆酸检测试剂盒","≥200T/盒","配套提供校准品、质控品","均相酶免疫法","贝克曼生化分析仪AU5800","精密度：CV≤10%；正确度：偏倚≤15%"]
[11,"六项呼吸道病原体核酸检测试剂盒","不限","配套样本保存液及采样拭子","PCR荧光探针法","上海宏石荧光定量PCR仪SLAN-96","可联合检测甲型流感病毒、乙型流感病毒、呼吸道合胞病毒、腺病毒、人鼻病毒、肺炎支原体的核酸"]